## Tabelle1
UnitID | Function Code | Address | Type | Min false | Max true | Unit | Description | Room
1 | Write Coils (0x15) | 0 | Bool | off | on | - | Light | Living Room
|  | 1 | Bool | stop | up | - | Move Shutters 1 Up
|  | 2 | Bool | stop | up | - | Move Shutters 2 Up
|  | 3 | Bool | stop | up | - | Move Shutters 3 Up
|  | 4 | Bool | stop | up | - | Move Shutters 4 Up
|  | 5 | Bool | stop | down | - | Move Shutters 1 Down
|  | 6 | Bool | stop | down | - | Move Shutters 2 Down
|  | 7 | Bool | stop | down | - | Move Shutters 3 Down
|  | 8 | Bool | stop | down | - | Move Shutters 4 Down
|  | 9 | Bool | off | on | - | Heating
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button 1
|  | 1 | Bool | idle | pressed | - | Button 2
|  | 2 | Bool | idle | pressed | - | Button 3
|  | 3 | Bool | idle | pressed | - | Dimmer Control 1 + Button
|  | 4 | Bool | idle | pressed | - | Dimmer Control 2 + Button
|  | 5 | Bool | idle | pressed | - | Dimmer Control 1 - Button
|  | 6 | Bool | idle | pressed | - | Dimmer Control 2 - Button
|  | 7 | Bool | idle | pressed | - | Shutter Control 1 Up Button
|  | 8 | Bool | idle | pressed | - | Shutter Control 2 Up Button
|  | 9 | Bool | idle | pressed | - | Shutter Control 3 Up Button
|  | 10 | Bool | idle | pressed | - | Shutter Control 1 Down Button
|  | 11 | Bool | idle | pressed | - | Shutter Control 2 Down Button
|  | 12 | Bool | idle | pressed | - | Shutter Control 3 Down Button
|  | 13 | Bool | undefined | open | - | Shutters 1 Open
|  | 14 | Bool | undefined | open | - | Shutters 2 Open
|  | 15 | Bool | undefined | open | - | Shutters 3 Open
|  | 16 | Bool | undefined | closed | - | Shutters 1 Closed
|  | 17 | Bool | undefined | closed | - | Shutters 2 Closed
|  | 18 | Bool | undefined | closed | - | Shutters 3 Closed
|  | 19 | Bool | open | closed | - | Door 1 Sensor
|  | 20 | Bool | open | closed | - | Door 2 Sensor
|  | 21 | Bool |  |  | - | Smoke Detector
|  | 22 | Bool | idle | motion | - | Motion Detector
|  | 23 | Bool |  |  | - | Light Sensor
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter 1 Position
|  | 1 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter 2 Position
|  | 2 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter 3 Position
|  | 3 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter 4 Position
|  | 4 | UInt16 | 0 | 100 | % | Brightness level
|  | 5 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 6 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level
|  | 1 | UInt16 | 0 | 2000 | W | Heating Power
2 | Write Coils (0x15) | 0 | Bool | off | on | - | Light Washbin | Guest Restroom
|  | 1 | Bool | off | on | - | Light Toilet
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button Washbin
|  | 1 | Bool | idle | pressed | - | Button Toilet
|  | 2 | Bool | idle | motion | - | Motion Detector Washbin
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Washbin Level
|  | 1 | UInt16 | 0 | 100 | % | Light Toilet Level
3 | 0x15 (Write Coils) | 0 | Bool | off | on | - | Light | Pantry
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level
4 | Write Coils (0x15) | 0 | Bool | off | on | - | Light Kitchen | Kitchen
|  | 1 | Bool | off | on | - | Light Floor
|  | 2 | Bool | stop | up | - | Move Shutters Up
|  | 3 | Bool | stop | down | - | Move Shutters Down
|  | 4 | Bool | off | on | - | Heating
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Dimmer Control 1 + Button
|  | 1 | Bool | idle | pressed | - | Dimmer Control 2 + Button
|  | 2 | Bool | idle | pressed | - | Dimmer Control 1 - Button
|  | 3 | Bool | idle | pressed | - | Dimmer Control 2 - Button
|  | 4 | Bool | idle | pressed | - | Shutter Control Up Button
|  | 5 | Bool | idle | pressed | - | Shutter Control Down Button
|  | 6 | Bool | undefined | open | - | Shutters Open
|  | 7 | Bool | undefined | closed | - | Shutters Closed
|  | 8 | Bool | open | closed | - | Door Sensor
|  | 9 | Bool | idle | motion | - | Motion Detector
|  | 10 | Bool |  |  | - | Light Sensor
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter Position (0=closed, 65323=open)
|  | 1 | UInt16 | 0 | 100 | % | Brightness level
|  | 2 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 3 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 65535 | % | Light Level Kitchen
|  | 1 | UInt16 | 0 | 65535 | % | Light Level Floor
|  | 2 | UInt16 | 0 | 1500 | W | Heating Power [W]
5 | Write Coils (0x15) | 0 | Bool | off | on | - | Lights | Entrance Hall
|  | 1 | Bool | stop | up | - | Move Shutters Up
|  | 2 | Bool | stop | down | - | Move Shutters Down
|  | 3 | Bool | off | on | - | Heating
|  | 4 | Bool | off | on | - | Siren
|  | 5 | Bool | disarmed | armed | - | Alarm
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button 1
|  | 1 | Bool | idle | pressed | - | Button 2
|  | 2 | Bool | idle | pressed | - | Button 3
|  | 3 | Bool | idle | pressed | - | Button 4
|  | 4 | Bool | idle | pressed | - | Button 5
|  | 5 | Bool | idle | pressed | - | Dimmer Control 1 + Button
|  | 6 | Bool | idle | pressed | - | Dimmer Control 2 + Button
|  | 7 | Bool | idle | pressed | - | Dimmer Control 1 - Button
|  | 8 | Bool | idle | pressed | - | Dimmer Control 2 - Button
|  | 9 | Bool | idle | pressed | - | Shutter Control Up Button
|  | 10 | Bool | idle | pressed | - | Shutter Control Down Button
|  | 11 | Bool | undefined | open | - | Shutters Open
|  | 12 | Bool | undefined | closed | - | Shutters Closed
|  | 13 | Bool | open | closed | - | Door 1 Sensor
|  | 14 | Bool | open | closed | - | Door 2 Sensor
|  | 15 | Bool | idle | motion | - | Motion Detector
|  | 16 | Bool |  |  | - | Light Sensor
|  | 17 | Bool | disarmed | armed | - | Alarm
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter Position
|  | 1 | UInt16 | 0 | 100 | % | Brightness level
|  | 2 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 3 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level
|  | 1 | UInt16 | 0 | 1750 | W | Heating Power
6 | Write Coils (0x15) | 0 | Bool | off | on | - | Light Passage | Garage
|  | 1 | Bool | off | on | - | Light Garage
|  | 2 | Bool | stop | up | - | Move Shutters Up
|  | 3 | Bool | stop | down | - | Move Shutters Down
|  | 4 | Bool | stop | up | - | Open Garage Door
|  | 5 | Bool | stop | down | - | Close Garage Door
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button Garage
|  | 1 | Bool | idle | pressed | - | Button Passage
|  | 2 | Bool | idle | pressed | - | Garage Door Control Up Button
|  | 3 | Bool | idle | pressed | - | Shutter Control Up Button
|  | 4 | Bool | idle | pressed | - | Garage Door Control Down Button
|  | 5 | Bool | idle | pressed | - | Shutter Control Down Button
|  | 6 | Bool | undefined | open | - | Shutters Open
|  | 7 | Bool | undefined | closed | - | Shutters Closed
|  | 8 | Bool | undefined | open | - | Garage Door Open
|  | 9 | Bool | undefined | closed | - | Garage Door Closed
|  | 10 | Bool | idle | blocked | - | Garage IR Detector
|  | 11 | Bool | idle | motion | - | Motion Detector
|  | 12 | Bool |  |  | - | Light Sensor
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter Position
|  | 1 | UInt16 | 0 | 100 | % | Brightness level
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level Passage
|  | 1 | UInt16 | 0 | 100 | % | Light Level Garage
7 | Write Coils (0x15) | 0 | Bool | off | on | - | Light | Corridor
|  | 1 | Bool | stop | up | - | Move Shutters Up
|  | 2 | Bool | stop | down | - | Move Shutters Down
|  | 3 | Bool | off | on | - | Heating
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button 1
|  | 1 | Bool | idle | pressed | - | Button 2
|  | 2 | Bool | idle | pressed | - | Button 3
|  | 3 | Bool | idle | pressed | - | Button 4
|  | 4 | Bool | idle | pressed | - | Button 5
|  | 5 | Bool | idle | pressed | - | Shutter Control Up Button
|  | 6 | Bool | idle | pressed | - | Shutter Control Down Button
|  | 7 | Bool | undefined | open | - | Shutters Open
|  | 8 | Bool | undefined | closed | - | Shutters Closed
|  | 9 | Bool |  |  | - | Smoke Detector
|  | 10 | Bool | idle | motion | - | Motion Detector
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter Position
|  | 1 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 2 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level
|  | 1 | UInt16 | 0 | 1500 | W | Heating Power
8 | Write Coils (0x15) | 0 | Bool | off | on | - | Light | Kids Bedroom
|  | 1 | Bool | stop | up | - | Move Shutters Up
|  | 2 | Bool | stop | down | - | Move Shutters Down
|  | 3 | Bool | off | on | - | Heating
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button 1 pressed
|  | 1 | Bool | idle | pressed | - | Button 2 pressed
|  | 2 | Bool | idle | pressed | - | Dimmer Control + Button
|  | 3 | Bool | idle | pressed | - | Dimmer Control - Button
|  | 4 | Bool | idle | pressed | - | Shutter Control Up Button
|  | 5 | Bool | idle | pressed | - | Shutter Control Down Button
|  | 6 | Bool | undefined | open | - | Shutters Open
|  | 7 | Bool | undefined | closed | - | Shutters Closed
|  | 8 | Bool | open | closed | - | Door 1 Sensor
|  | 9 | Bool | open | closed | - | Door 2 Sensor
|  | 10 | Bool |  |  | - | Smoke Detector
|  | 11 | Bool |  |  | - | Light Sensor
|  | 12 | Bool | idle | motion | - | Motion Detector
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter Position
|  | 1 | UInt16 | 0 | 100 | % | Brightness level
|  | 2 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 3 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level
|  | 1 | UInt16 | 0 | 1000 | W | Heating Power
9 | Write Coils (0x15) | 0 | Bool | off | on | - | Light Washbin | Bathroom
|  | 1 | Bool | off | on | - | Light Bathroom
|  | 2 | Bool | off | on | - | Heating
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button Washbin
|  | 1 | Bool | idle | pressed | - | Button Bathroom
|  | 2 | Bool | idle | motion | - | Motion Detector
| Read Input Registers (0x04) | 0 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 1 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Lights Washbin Level
|  | 1 | UInt16 | 0 | 100 | % | Light Level Bathroom
|  | 2 | UInt16 | 0 | 750 | W | Heating Power
10 | Write Coils (0x15) | 0 | Bool | off | on | - | Light | Single Bedroom
|  | 1 | Bool | stop | up | - | Move Shutters Down
|  | 2 | Bool | stop | down | - | Move Shutters Down
|  | 3 | Bool | off | on | - | Heating
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button 1
|  | 1 | Bool | idle | pressed | - | Button 2
|  | 2 | Bool | idle | pressed | - | Dimmer Control + Button
|  | 3 | Bool | idle | pressed | - | Dimmer Control - Button
|  | 4 | Bool | idle | pressed | - | Shutter Control Up Button
|  | 5 | Bool | idle | pressed | - | Shutter Control Down Button
|  | 6 | Bool | undefined | open | - | Shutters Open
|  | 7 | Bool | undefined | closed | - | Shutters Closed
|  | 8 | Bool | open | closed | - | Door 1 Sensor
|  | 9 | Bool | open | closed | - | Door 2 Sensor
|  | 10 | Bool |  |  | - | Smoke Detector
|  | 11 | Bool |  |  | - | Light Sensor
|  | 12 | Bool | idle | motion | - | Motion Detector
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter Position
|  | 1 | UInt16 | 0 | 100 | % | Brightness level
|  | 2 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 3 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level
|  | 1 | UInt16 | 0 | 750 | W | Heating Power
11 | Write Coils (0x15) | 0 | Bool | off | on | - | Light | Private Bathroom
|  | 1 | Bool | off | on | - | Heating
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Dimmer Control + Button
|  | 1 | Bool | idle | pressed | - | Dimmer Control - Button
|  | 2 | Bool | idle | motion | - | Motion Detector
| Read Input Registers (0x04) | 0 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 1 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level
|  | 1 | UInt16 | 0 | 1000 | W | Heating Power
12 | Write Coils (0x15) | 0 | Bool | off | on | - | Light | Couple Bedroom
|  | 1 | Bool | stop | up | - | Move Shutters Up
|  | 2 | Bool | stop | down | - | Move Shutters Down
|  | 3 | Bool | off | on | - | Heating
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button 1
|  | 1 | Bool | idle | pressed | - | Button 2
|  | 2 | Bool | idle | pressed | - | Dimmer Control 1 + Button
|  | 3 | Bool | idle | pressed | - | Dimmer Control 2 + Button
|  | 4 | Bool | idle | pressed | - | Dimmer Control 1 - Button
|  | 5 | Bool | idle | pressed | - | Dimmer Control 2 - Button
|  | 6 | Bool | idle | pressed | - | Shutter Control Up Button
|  | 7 | Bool | idle | pressed | - | Shutter Control Down Button
|  | 8 | Bool | undefined | open | - | Shutters Open
|  | 9 | Bool | undefined | closed | - | Shutters Closed
|  | 10 | Bool | open | closed | - | Door 1 Sensor
|  | 11 | Bool | open | closed | - | Door 2 Sensor
|  | 12 | Bool |  |  | - | Smoke Detector
|  | 13 | Bool |  |  | - | Light Sensor
|  | 14 | Bool | idle | motion | - | Motion Detector
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter Position
|  | 1 | UInt16 | 0 | 100 | % | Brightness level
|  | 2 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 3 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level
|  | 1 | UInt16 | 0 | 750 | W | Heating Power
13 | Write Coils (0x15) | 0 | Bool | off | on | - | Light | Laundry
|  | 1 | Bool | stop | up | - | Move Shutters Up
|  | 2 | Bool | stop | down | - | Move Shutters Down
|  | 3 | Bool | off | on | - | Heating On/Off
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button 1
|  | 1 | Bool | idle | pressed | - | Shutter Control Up Button
|  | 2 | Bool | idle | pressed | - | Shutter Control Down Button
|  | 3 | Bool | undefined | open | - | Shutters Open
|  | 4 | Bool | undefined | closed | - | Shutters Closed
|  | 5 | Bool | open | closed | - | Door 1 Sensor
|  | 6 | Bool | open | closed | - | Door 2 Sensor
|  | 7 | Bool |  |  | - | Light Sensor
|  | 8 | Bool | idle | motion | - | Motion Detector
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter Position
|  | 1 | UInt16 | 0 | 100 | % | Brightness level
|  | 2 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 3 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Level
|  | 1 | UInt16 | 0 | 500 | W | Heating Power
14 | Write Coils (0x15) | 0 | Bool | off | on | - | Lights Library | Office
|  | 1 | Bool | off | on | - | Lights Office
|  | 2 | Bool | off | on | - | Lights Floor
|  | 3 | Bool | stop | up | - | Move Shutters Up
|  | 4 | Bool | stop | down | - | Move Shutters Down
|  | 5 | Bool | off | on | - | Heating
| Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Button 1
|  | 1 | Bool | idle | pressed | - | Button 2
|  | 2 | Bool | idle | pressed | - | Button 3
|  | 3 | Bool | idle | pressed | - | Dimmer Control 1 + Button
|  | 4 | Bool | idle | pressed | - | Dimmer Control 2 + Button
|  | 5 | Bool | idle | pressed | - | Dimmer Control 3 + Button
|  | 6 | Bool | idle | pressed | - | Dimmer Control 1 - Button
|  | 7 | Bool | idle | pressed | - | Dimmer Control 2 - Button
|  | 8 | Bool | idle | pressed | - | Dimmer Control 3 - Button
|  | 9 | Bool | idle | pressed | - | Shutter Control Up Button
|  | 10 | Bool | idle | pressed | - | Shutter Control Down Button
|  | 11 | Bool | undefined | open | - | Shutters Open
|  | 12 | Bool | undefined | closed | - | Shutters Closed
|  | 13 | Bool | open | closed | - | Door 1 Sensor
|  | 14 | Bool | open | closed | - | Door 2 Sensor
|  | 15 | Bool |  |  | - | Smoke Detector
|  | 16 | Bool |  |  | - | Light Sensor
|  | 17 | Bool | idle | motion | - | Motion Detector
| Read Input Registers (0x04) | 0 | UInt16 | 0 (closed) | 1000 (open) | ‰ | Shutter Position
|  | 1 | UInt16 | 0 | 100 | % | Brightness level
|  | 2 | UInt16 | 0 | 65535 | m°C | Room Temperature
|  | 3 | UInt16 | 0 | 65535 | m°C | Thermostat Temperature Set Point (0 = off)
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Library Brightness
|  | 1 | UInt16 | 0 | 100 | % | Light Office Brightness
|  | 2 | UInt16 | 0 | 100 | % | Light Floor Brightness
|  | 3 | UInt16 | 0 | 1500 | W | Heating Power
15 | Write Coils (0x15) | 0 | Bool | off | on | - | Light Entrance | Exterior
|  | 1 | Bool | off | on | - | Light Garden
|  | 2 | Bool | off | on | - | Light Pool
|  | 3 | Bool | off | on | - | Ligth Outside West
|  | 4 | Bool | off | on | - | Light Outside South
|  | 5 | Bool | stop | open | - | Open Gate
|  | 6 | Bool | stop | close | - | Close Gate
|  | 7 | Bool | off | on | - | Siren
| Read Discrete Inputs (0x02) | 0 | Bool | undefined | open | - | Gate is Open
|  | 1 | Bool | undefined | closed | - | Gate is Closed
|  | 2 | Bool | idle | blocked | - | Gate IR Detector 1
|  | 3 | Bool | idle | blocked | - | Gate IR Detector 2
|  | 4 | Bool | idle | blocked | - | Gate IR Detector 3
|  | 5 | Bool |  |  | - | Light Sensor
|  | 6 | Bool | idle | motion | - | Motion Detector Entrance
| Read Input Registers (0x04) | 0 | UInt16 | 0 | 100 | % | Brightness level
|  | 1 | UInt16 | 0 | 65535 | m°C | Outside Temperature
|  | 2 | UInt16 | 0 | 100 | % | Relative Humidity
|  | 3 | UInt16 | 0 | 65636 | mm/s | Wind Speed
| Write Holding Registers (0x10) | 0 | UInt16 | 0 | 100 | % | Light Entrance Level
|  | 1 | UInt16 | 0 | 100 | % | Light Garden Level
|  | 2 | UInt16 | 0 | 100 | % | Light Pool Level
|  | 3 | UInt16 | 0 | 100 | % | Ligth Outside West Level
|  | 4 | UInt16 | 0 | 100 | % | Light Outside South Level
16 | Read Discrete Inputs (0x02) | 0 | Bool | idle | pressed | - | Remote Control Button 1 | Misc
|  | 1 | Bool | idle | pressed | - | Remote Control Button 2
|  | 2 | Bool | idle | pressed | - | Remote Control Button 3
|  | 3 | Bool | idle | pressed | - | Remote Control Button 4
|  | 4 | Bool | idle | pressed | - | Remote Control Button 5
|  | 5 | Bool | idle | pressed | - | Remote Control Button 6
|  | 6 | Bool | idle | pressed | - | Remote Control Button 7
|  | 7 | Bool | idle | pressed | - | Remote Control Button 8
| Read Input Registers (0x04) | 0 | UInt16 | 0 | 65535 | - | Year
|  | 1 | UInt16 | 1 | 12 | - | Month
|  | 2 | UInt16 | 1 | 31 | - | Day
|  | 3 | UInt16 | 0 | 23 | - | Hour
|  | 4 | UInt16 | 0 | 59 | - | Minute
|  | 5 | UInt16 | 0 | 59 | - | Second
17 | Read Input Registers (0x04) | 0 | Float32 | -inf | inf | W | Current Power consumed/injected from/to Electrical Grid | Energy Management
|  | 2 | Float32 | -inf | inf | J | Energy consumed/injected from/to Electrical Grid
|  | 4 | Float32 | -inf | inf | W | Current Power produced by PV
|  | 6 | Float32 | -inf | inf | J | Energy Produced by PV
|  | 8 | Float32 | 0 | 100 | % | Current SoC of Energy Storage
|  | 10 | Float33 | -inf | inf | W | Current charge/discharge Power of Energy Storage
|  | 12 | Float32 | -inf | inf | W | Heating power consumption
|  | 14 | Float32 | -inf | inf | J | Heating energy consumed
| Write Holding Registers (0x10) | 0 | Int16 | -1 | 1 | - | Energy Storage Mode: 0=idle, 1=charge, -1=discharge
|  | 1 | UInt16 | 0 | 5000 | W | Energy Storage maximal charge Power
|  | 2 | UInt16 | 0 | 5000 | W | Energy Storage maximal discharge Power